## PACI
Fire Damper Inspections
PACI
Damper # | Location | Serving | Date Inspected | Condition | Notes
B1-1 | Basement X0012 / 0004 Ceiling | Mech. Rm to Hallway
B1-2 | Basement X0012 / 0004 Ceiling | Mech. Rm to Hallway
B1-3 | PA 0004 Ceiling | Mech.Rm to 50 addition
B1-4 | Basement X0012 / 0003 Ceiling | Hallway to Rm 0003
B1-5 | Basement X0012 / 0003 Ceiling | Hallway to Rm 0003
B1-6 | Basement X0012 / X1000 Floor | Basement to Main Fl.
B1-7 | Basement X0012 / X1000 Floor | Basement to Main Fl.
L1-1 | X1000 / 1005 Ceiling | Hallway to Rm 1005
L1-2 | X1000 / 1005 Ceiling | Hallway to Rm 1005
L1-3 | X1000 / 1004 Ceiling | Hallway to Rm 1004
L1-4 | X1000 / 1004 Ceiling | Hallway to Rm 1004
L1-5 | RM. 1003 Ceiling | Janitors Closet to Basement
L1-6 | X1000 / 1004 Ceiling | Supply to 50 Addition
L1-7 | X1000 / 1007 A & B Ceiling | Return for 1007A/B
L1-8 | X1000 / 1007 A & B Ceiling | Supply for 1007A/B
L1-9 | RM. 1006 Ceiling | Supply for 1006
L1-10 | X1000 / RM. 1008 Ceiling | Return for 1006 & 1008 & 1008A
L1-11 | X1000 / 1008 Ceiling | Supply for 1008 & 1008A
L1-12 | X1000 / 1010 Ceiling | Supply for RM. 1010
L1-13 | X1000 / 1010 Ceiling | Return for RM 1010
L1-14 | X1000 / 1011 Ceiling | Supply for RM. 1011
L1-15 | X1000 / 1011 Ceiling | Return for RM. 1011
L1-16 | X1000 / 1013 Ceiling | Return for RM.1013
L1-17 | X1000 / 1013 Ceiling | Supply for RM. 1013
L1-18 | X1000 / 1012 Ceiling | Supply for RM. 1012
L1-19 | X1000 / 1012 Ceiling | Return for RM 1012
Damper # | Location |  | Date Inspected | Condition | Notes
L2-1 | X2004 / RM 2012 | Supply for 2012
L2-2 | X2004 / RM 2012 | Return for 2012
L2-3 | X2004 / RM 20009 | Return for 2009
L2-4 | X2004 / RM 2009 | Supply for 2009
L2-5 | X2004 / RM 2010 | Return for 2010
L2-6 | X2004 / RM 2010 | Supply for 2010
L2-7 | X2004 / RM 2007A | Supply for 2007A
L2-8 | X2004 / RM 2007A | Return for 2007A
L2-9 | X2004 / RM 2008A | Return for 2008A
L2-10 | X2004 / RM 2008A | Supply for 2008A
L2-11 | X2004 / RM 2007 | Supply for 2007
L2-12 | X2004 / RM 2007 | Return for 2007
L2-13 | X2004 / RM 2006 | Return for 2006
L2-14 | X2004 / RM 2006 | Supply for 2006
L2-15 | RM 2012 | Supply from HRU in 2010
L2-16 | RM 2012 | Return from HRU in 2010
L2-17 | RM 2010 | Supply from HRU in 2012
L2-18 | RM 2010 | Return from HRU in 2012
L2-19 | RM 2006 | Supply to 2004
L2-20 | RM 2006 | Return from 2004
L2-21 | RM 2004 | Supply from 2006
L2-22 | RM 2004 | Return to 2006
L2-23 | X2004 / Rm 2004 | Return from 2004
L2-24 | X2004 / Rm 2004 | Supply to 2004
L2-25 | X2004 / Rm 2005 | Return from 2005
L2-26 | X2004 / Rm 2005 | Supply to 2005
L2-27 | X2004 | Return From X1000 1st floor
L2-28 | X2004 | Supply From X1000 1st floor
L2-29 | RM 2003 | Janitors Room exhaust
L3-1 | X3000 / RM 3001 | Supply to 3001
L3-2 | X3000 / RM 3001 | Return from 3001
L3-3 | X3000 / 3002 | Return 3002
Damper # | Location |  | Date Inspected | Condition | Notes
L3-4 | X3000 / 3002 | Supply 3002
L3-5 | Rm 3002 Floor Level | Supply From 2002 to 3002
L3-6 | Rm 3002 Floor Level | Return From 2002 to 3002
L2-30 | RM 2001 / X2000 | Return from 2002
L2-31 | RM 2001 / X2000 | Supply from 2002
L2-32 | Rm 2002 / X2000 | Return from 2001
L2-33 | Rm 2002 / X2000 | Supply from 2001
L2-34 | Rm 2002 @ FLR Level | Supply from X1006
L2-35 | Rm 2002 @ FLR Level | Return to Mech. Rm 0004
L1-20 | Rm 1001 / X1000 | Return from 1002
L1-21 | Rm 1001 / X1000 | Supply from 1002
L1-22 | Rm 1002 / X1000 | Return to Rm 1001
L1-23 | Rm 1002 / X1000 | Supply to Rm 1001
B1-8 | Rm 0002A | Supply from 1001
B1-9 | Rm 0002A | Return from 1001
L3-7 | X3004 @ FLR Level | Return from X2004
L3-8 | X3004 @ FLR Level | Supply from X2004
L3-9 | X3004 Below Ceiling | Return to Atic / Rm 3008&3007
L3-10 | X3004 Below Ceiling | Supply to Atic / Rm 3008&3007
L3-11 | RM 3008 @ Ceiling | Return for Rm 3008
L3-12 | RM 3008 @ Ceiling | Supply for Rm 3008
L3-13 | RM 3007 @ Ceiling | Return for Rm 3007
L3-14 | RM 3007 @ Ceiling | Supply for Rm 3007
L3-15 | RM 3007 / X3004 | Exhaust Fan for 3007
L3-16 | Atic space above 3006 | Return for 3006
L3-17 | Atic space above 3006 | Supply for 3006
L3-18 | X3006 @ FLR Level | Return from X2004
L3-19 | X3006 @ FLR Level | Supply from X2004
L3-20 | X3006 @ Ceiling | Return to Atic 3004/3005 a,b,c,d
L3-21 | X3006 @ Ceiling | Supply to Atic 3004/3005 a,b,c,d
Damper # | Location |  | Date Inspected | Condition | Notes
L3-22 | RM 3004 Ceiling | Return for 3004
L3-23 | RM 3004 Ceiling | Supply for 3004
L3-24 | RM 3005 @ Ceiling above 3005B | Return for 3005
L3-25 | RM 3005 @ Ceiling above 3005B | Supply for 3005
L3-26 | RM 3003 Above FLR | Janitor Rm. Exhaust From 2003
G1-1 | RM 0017 @ FLR Level | Supply to Boys Change Rm & Shower
G1-2 | RM 0017 @ FLR Level | Supply for Gym/ Change Rm Hallway
G1-3 | RM 0017 @ FLR Level | Supply to Girls Change Rm & Shower
B1-10 | X0009 / PA.0013-0015 | Supply to RM 0007 Café. From 0017 Lenox A
B1-11 | RM 0017 Above Lenox A | Return from Café RM 0007
B1-12 | Rm 0017 Bottom Duct Lenox A | Return from Rm 0013 -0011
B1-13 | RM 0017 Top Duct Lenox A | Supply to Café. Zone 1
B1-14 | RM 0017 Top of Duct Lenox A | Supply Rm 0011 Zone 2
B1-15 | RM 0017 Top of Duct Lenox A | Supply Rm 0013 Zone3
B1-16 | RM 0017 Top of Duct Lenox A | Supply for 0015 Zone 4
B1-17 | Rm 0017 Above FLR | Exhaust from Shower Rooms
B1-18 | X0008 / 0021 | Supply to X0008
B1-19 | X1010 / Elevator first floor | Exhaust from Shower Rooms
B1-20 | PA 0019A | Exhaust for PA 0021 & 0023
B1-21 | PA 0019B | Supply to X0008
B1-22 | PA 0019B | Return RMs PA 0019,0019A,B & C
B1-23 | PA 0019 | Exhaust to outside for LenoxB
G1-4 | PA 0025 | Gym Supply
G1-5 | PA 0025 | Gym Supply
G1-6 | PA 0025 | Gym Supply
G1-7 | PA 0025 | Gym Supply
G1-8 | PA 0025 | Gym Return, High Elevation
G1-9 | Gym Storage Room | Gym Return, Lower Level |  |  | Access through duct in gym storage room
Damper # | Location |  | Date Inspected | Condition | Notes

## ATAC
Lakehead University Fire Damper Inspections
ATAC
Damper # | Location | Serving | Date Inspected | Condition | Notes
CS-1 | Crawlspace | Hot Deck
CS-2 | Crawlspace | Cold Deck
CS-3 | Crawlspace - shaft | Exhaust
L1-1 | AT1014 | Hot Deck
L1-2 | AT1014 | Cold Deck
L1-3 | AT1009 - AT1005AA | Exhaust
L1-4 | AT1005 - AT1005AA | Exhaust
L1-5 | AT1005AA - AT1009 | Hot Deck
L1-6 | AT1005AA - AT1009 | Cold Deck
L1-7 | AT1010 - AT1005AA | Return
L1-8 | AT1005 - AT1005AA | Return
L1-9 | AT1007 - AT1005A | Return
L2-1 | AT2022 | Hot Deck
L2-2 | AT2022 | Cold Deck
L2-3 | AT2007BA - AT2016 | Exhaust
L2-4 | AT2007BA - AT2016 | Hot Deck
L2-5 | AT2007BA - AT2016 | Cold Deck
L2-6 | AT2007B -AT2007BA | Return
L2-7 | AT2015 - AT2007BA | Return
L2-8 | AT2015 - AT2007 | Return
L2-8A | AT2015 - AT2007 | Return
L2-8B | AT2015 - AT2007 | Return
L2-9 | ATX2013 - AT2022 | Return
L3-1 | ATX3008 | Hot Deck
L3-2 | ATX3008 | Cold Deck
L3-3 | AT3007 - AT3002AA | Exhaust
L3-4 | AT3006 - AT3002AA | Return
L3-5 | ATX3010 | Return
Damper # | Location |  | Date Inspected | Condition | Notes
L3-6 | AT3004 - ATX3004 | Return
L3-6A | AT3004 - ATX3004 | Return
L4-1 | ATX4008 | Cold Deck
L4-2 | ATX4008 | Hot Deck
L4-3 | AT4017 - AT4004AA | Exhaust
L4-4 | AT4004A - AT4004AA | Return
L4-5 | AT4016 - AT4004AA | Return
L4-6 | ATX4010 | Return
L5-1 | ATX5008 | Cold Deck
L5-2 | ATX5008 | Hot Deck
L5-3 | AT5038 - AT5022AA | Exhaust
L5-4 | AT5036 - AT5022AA | Return
L5-5 | AT5022A - AT5022AA | Return
L5-6 | ATX5011 | Return
L6-1 | AT6028 | Return
L6-2 | AT6028 | Supply
L6-3 | AT6028 | Exhaust

## Medical School
Lakehead University Fire Damper Inspections
Medical School
Damper # | Location | Serving | Date Installed | Date Inspected | Condition | Notes
B1-1 | MS0001 - MS0003 | Supply
B1-2 | MS0001 - MS0001A
B1-3 | MS0003 - MS0001 | Exhaust
B1-4 | MS0001A - MS0001 | Return
B1-5 | MS0003 - MS0001 | Return
L1-1 | MS1002H | Return
L1-2 | MSX1007 - CHASE | Return
L1-3 | CHASE - MS1007 | Supply
L1-4 | CHASE - MS1002 | Hot Deck Supply
L1-5 | CHASE - MS1002 | Cold Deck Supply
L1-6 | CHASE - L1 TO B | Return
L1-7 | MS1005 - CHASE | Exhaust
L1-8 | CHASE BY MS1005 - L1 TO L2 | Supply
L1-9 | CHASE BY MS1005 - L1 TO L2 | Exhaust
L1-10 | MS1003 - MS1005 | Exhaust
L2-1 | MS2014 - CHASE | Supply
L2-2 | MS2013 - CHASE | Exhaust
L2-3 | CHASE - MS2005 | Hot Deck Supply
L2-4 | CHASE - MS2005 | Cold Deck Supply
L2-5 | CHASE - MS2005 | Exhaust
L2-6 | MS2012 - CHASE | Exhaust
L3-1 | MS3015 | Supply
L3-2 | CHASE - L3 TO L2 | Exhaust
L3-3 | CHASE - L2 TO L3 | Supply
L3-4 | MS3014 - CHASE | Exhaust
Damper # | Location |  | Date Installed | Date Inspected | Condition | Notes
L3-5 | MS3013 | Exhaust
L3-6 | CHASE - MS3005 | Hot Deck Supply
L3-7 | CHASE - MS3005 | Cold Deck Supply
L3-8 | MS3005 - CHASE | Exhaust
L3-9 | MS3003 | Exhaust
L3-10 | MS3005 - MSX3010 | Cold Deck Supply
L3-11 | MS3003 - MSX3010 | Hot Deck Supply
L3-12 | CHASE - MS3001A | Hot Deck Supply
L3-13 | CHASE - MS3001A | Cold Deck Supply
L3-14 | MS3003 | Return
L3-15 | MS3005 | Return

## Regional Center
Lakehead University Fire Damper Inspections
Regional Center
Damper # | Location | Serving | Date Installed | Date Inspected | Condition | Notes
LB-1 | RC0005 - SC0014 | Return
LB-2 | SC0014 - RC0007 | Supply
LB-3 | RC0007 - SC0014 | Return
L1-1 | RCX1005 - RCX1005 | Supply
L1-2 | RCX1005 - RC1001 | Supply
L1-3 | RC1001A - RCX1001 | Supply
L1-4 | RC1001A - RCX1001 | Return
L1-5 | RC1001 - RCX1006 | Supply
L1-6 | RC1002 - RCX1006 | Supply
L1-7 | RCX1003 - RC1002 | Supply
L1-8 | RC1002 - RCX1003 | Return
L1-9 | RC1003 - RCX1006 | Supply
L1-10 | RC1003 - RCX1003 | Return
L1-11 | RCX1003 - RC1003 | Supply
L2-1 | RC2001 - RCX2001 | Return
L2-2 | RCX2001 - RC2001 | Supply
L2-3 | RCX2004 - RC2001A | Supply
L2-4 | RC2002 - RCX2004 | Supply
L2-5 | RC2002B - RCX2001 | Return
L2-6 | RCX2001 - RC2002B | Supply
L2-7A | RC2003 - RCX2004 | Supply
L2-7B | RC2003 - RCX2004 | Supply
L2-8 | RC2005 - RCX2003 | Return
L2-9 | RCX2003 - RC2005 | Supply
L2-10 | RC2005 - RCX2004 | Supply
L2-11 | RC2006H-RCX2004 | Return
L2-12 | RCX2003 - RC2006H | Supply
Damper # | Location |  | Date Installed | Date Inspected | Condition | Notes
L3-1 | RC3000 - RCX3001 | Return
L3-2 | RCX3001 - RC3000 | Supply
L3-3 | RC3002B - RCX3001 | Return
L3-4 | RCX3001 - RC3002B | Supply
L3-5 | RC3014 - RCX3003 | Return
L3-6 | RCX3003 - RC3014 | Supply
L3-7 | RC3016G - RCX3003 | Return
L3-8 | RCX3003 - RC3016G | Supply
LP-1 | PENTHOUSE AHU1 - L3 | Supply
LP-2 | L3 - PENTHOUSE AHU1 | Return
LP-3 | PENTHOUSE AHU2 - L3 | Supply
LP-4 | L3 - PENTHOUSE AHU2 | Return
LP-5A | L3 - PENTHOUSE AHU2 | Exhaust
LP-5B | L3 - PENTHOUSE AHU2 | Exhaust
STUDENT CENTER
LB-1 | SC0014 - SCX0005 | Supply
LB-2 | SC0015 - SC0014 | Return
LB-3 | SC0011 - SC0014 | Return
LB-4 | SC0005 - SC0014 | Return
LB-5 | SC0005 - SC0014 | Exhaust
LB-6 | SC0014 - L1 | Exhaust 7
LB-7 | L1 AHU3 - SC0014 | Return
LB-8 | SC0014 - L1AHU3 | Supply
Damper # | Location |  | Date Installed | Date Inspected | Condition | Notes
LB-9 | SC0014 - L1AHU4 | Supply
LB-10 | L1 AHU4 - SC0014 | Return

## Hanger
Lakehead University Fire Damper Inspections
Hanger
Damper # | Location | Serving | Date Installed | Date Inspected | Condition | Notes
L1-1 | SH1034 - SH2002 | Return
L1-1A | SH1034 - SH2002 | Return
L1-1B | SH1034 - SH2002 | Return
L1-2 | SH1036 - SH2002 | Exhaust
L1-3 | SH2002 - SH1037 | Supply
L1-4 | SH1032D - SH2002 | Return
L1-5 | SH2002 - SH1032E | Supply